## Sheet1
Author & Date of publication | Journal or Conference | Title | Case study | Sensor used | Details of participants | Data conditioning | Preprocessing window | Extracted Features | Features selection algothims | Modelling and Interface | Accuracy measures
Wei, Chen and Sheng, Lei and Lihua, Guo and Yuquan, Chen and Min, Pan, year 2011 | 4th International Congress on Image and Signal Processing | Study on conditioning and feature extraction algorithm of photoplethysmography signal for physiological parameters detection | This paper mainly focused on, data conditioning and extracting features based on a differential threshold method | photoplethysmography(PPG) sensor |  | The signal conditioning procedure consists three main steps: removing singular values(Median filter), FIR low-pass filtering(Which reduces high frequency noise ) and baseline drift elimination( using Wavelet transformation). Signal feature extraction aims to extract all the feature points of the PPG | A Hamming window with 21 orders was used to eliminate the high-frequency noise containing in the original PPG signals , sampling frequency was 500 HZ and cut of frequency 30 HZ , digital filter index | A differential threshold method was then used to extract feature points from the regular signal , this method consist of three steps : interploation, differentiation and extreme point extraction. |  | In proposed differential threshold method, the interploation is done using cubic spline interpolation method, the output is denoted as S(x). S(x) had continuous first and second derivatives, Normally, the extreme points of PPG signal could be obtained from the nearest zero points in the first derivative curve. The extreme points of second derivative were related to the compliance and elasticity of the blood vessel. | Because the proposed differential method could eliminate the false positives caused by signal jitter effectively, it was advantageous to the detection of the physiological parameters, such as Heart Rtae (HR), Breathing Rate(BR)
Lahdenoja, Olli and Humanen, Tero and Tadi, Mojtaba Jafari and, Mikko and Koivisto, Tero. | Computing in Cardiology Conference (CinC) | Heart rate variability estimation with joint accelerometer and gyroscope sensing. | This paper illustrates extraction of heart rate (HR) and heart rate variability (HRV) with 3D accelerometers and 3D gyroscopes. Estimation based on single-axis and multi-axes autocorrelation analysis (1-AC and 6-AC) , later features are extracted and validated results with a comparison study between simultaneous ECG and Accelerometer/Gyroscope | 3D Accelerometer & 3D gyroscope | 29 people were advised to lie in supine position during the acquisition , subjects were as follows: (min-max, mean, standard deviation): age (23-41, 29.15, 4.73 years), height (170-190, 178.48, 5.91 cm) weight (60-98, 76.32, 11.20 kg) and BMI (17.53-29.4, 23.92, 3.00 kg/m2). | The single and multi-axis auto correlation methods are used to find repeating patterns in the data, and determines how close two time series signals are . | window size for correlation window : 2.5 second window for feature extraction: 1 second. Sampling frequency Fs = 800 HZ | Time domain parameters for each recording : ( mean RR intervals, standard deviation (STD) of RR intervals (SDNN), mean heart rate (HR), STD HR, and RMSSD (Square root of the mean squared differences between successive RR intervals, NN50 (number of successive RR intervals differing more than 50ms), pNN50 (probability of NN50 against total number of RR intervals), HRV triangular index (derived from the RR interval histogram)) .. Frequency domain parameters considered here are the FFT (Fast Fourier Transform) and AR(Autoregressive model) spectrum based features: very low Frequency (VLF), low frequency (LF), and high frequency (HF) peak frequencies and power ratio LF/HF | However, the most important HRV parameters Mean RR and STD RR (as well as HR and STD HR) and RMSSD are improved clearly through the use of 6-AC method | calculate mean error between l-AC(Auto correlation) and 6-AC(Auto correlation) methods with respect to ECG using Time and Frequency extracted features . | In Time domian (Mean (Heart rate)_1-AC_&_6-AC has lowest mean error---- 0.2162 & 0.1565 and highest for NN50(count) with--- 7.9310 & 15.1034) In Frequency domian (FFT (VLF(peak) )_1-AC_&_6-AC has lowest mean error---- 0.0019 & 0.0003 and highest for LF/HF with--- 0.2692 & 0.2305)
Vescio, Basilio and Salsone, Maria and Gambardella, Antonio and Quattrone, Ald | Journal | Comparison between Electrocardiographic and Earlobe Pulse Photoplethysmographic Detection for Evaluating Heart Rate Variability in Healthy Subjects in Short- and Long-Term Recordings | This work represents a frame work that compare photoplethysmograph(PPG) a beat-to-beat intervals (NN) with electrocardiography(ECG) (RR) interavals, where comparsions are made on raw data signal and on time-domain and frequency-domain HRV parameters. | photoplethysmograph(PPG) & electrocardiography(ECG) | ECG and PPG recordings were taken from two different groups of people, both made up of 10 healthy subjects (five males + five females), without arrhythmias, aged from 25 to 62 years. The first group was monitored for 20 min at rest. The second group was monitored for 24 h during normal daily activity | Artifact removal by HRV Toolkit | In first group data (20 mints) is segemented in to three groups and in long term data (24-h data) is segmented in to 10 mints interval along the signal | The time and frequency heart rate variability domain features are calculated: (AVNN: average of all NN intervals, SDNN: standard deviation of all NN intervals, rMSSD: square root of the mean of the squares of differences between adjacent NN intervals, pNN50: percentage differences between adjacent NN intervals greater than 50 ms, Low frequency (LF) power: the spectral power of all NN intervals between 0.04 and 0.15 Hz, HF, LF/HF, SD1,SD2) , this features are extracted by means of Kubios HRV software. |  | In short-term acquisitions (made up of three segments, each lasting 10 min), each RR curve was compared to its related NN curve. Cross-correlation coefficients, together with root mean square errors (RMSE), were computed for each subject and for each segment of raw data and featued data. The Long-term data is segemented in to 10 mints interval and report Avearge RMSE value for both raw data and featured data. | Correlations with r > 0.9 was found between ECG-HRV and PPG-HRV measures.
Jeyhani, Vala and Mahdiani, Shadi and Peltokangas, Mikko and Vehkaoja, Antti, & 2015 | 37th Annual International Conference of the IEEE Engineering in Medicine and Biology Society (EMBC) | Comparison of HRV parameters derived from photoplethysmography and electrocardiography signals | In this work, HRV analysis was applied on beat-to-beat intervals obtained from ECG and PPG in 19 healthy male subjects. Some important HRV parameters were calculated from PPG-HRV and ECG-HRV. Maximum of PPG and its second derivative were considered as two methods for obtaining the beat-to-beat signals from PPG and the results were compared with those achieved from ECG-HRV. | photoplethysmograph(PPG) & electrocardiography(ECG) | Total 19 health male subjects were considered with age of 38.2±13.1. The data collection and preservation has been done according to the principles of World Medical Association's Declaration of Helsinki. | Interpolation is applied to have a better resolution for peak detection , a cubic interpolation is applied on the signal where additional frequencies(T wave interference, baseline drift and power line interference) other than QRS complex is removed from it. The steps of detection inculde band pass filtering, differentiation, squaring and intergation .The FIR band pass is passed with cutt off frequency of 0.5 and 10 HZ Later , the differentiation and squaring focused on high frequency components and attenuate non-significant waves. | window size : 4 seconds, where sampling frequency is 250 HZ. | SDNN, RMSSD, PNN50, SD1, SD2. |  | In proposed detection algorithm , the interploation is done using cubic spline interpolation method, the output is denoted as S(x). S(x) had continuous first and second derivatives, here both derivative peaks are emphasized and further estimate time and frequency domain parameters , finally during validation the ECG grouth truth HRV parameters is compared with PPG HRV parameters using Root Mean Square Errors (RMSEs) and Mean Absolute Errors (MAEs). | The results shows that the smallest error happens in SDNN and SD2 with relative error of 2.46% and 2%, respectively. The most affected parameter is pNN50 with relative error of 29.89%.
Fukushima, Hayato and Kawanaka, Haruki and Bhuiyan, Md Shoaib and Oguri, Koji. & 2012 | Annual International Conference of the IEEE Engineering in Medicine and Biology Society | Estimating Heart Rate using Wrist-type Photoplethysmography and Acceleration sensor while running | In this study accelerometer is built in the wrist type sensor to improve the accuracy of heart rate estimation . This method has two components , one is rejecting artifacts with the power spectrum's difference between PPG and acceleration obtained by frequency analysis. The other is the reliability of heart rate estimation, defined by the acceleration, and this results are compared with Electrocardiogram (ECG) data set | photoplethysmograph(PPG) , electrocardiography(ECG) & 3D accelerometer. | ive test subjects (two females and three males, aged 21.4 ± 0.5) | smoothing filters to reduce noise | Window size : 120 seconds | The Heart Rate Variability is estimated for three cases : resting, warming up, running . |  | To estimate heart rate from PPG is to detect the frequency of PPG. Next, the estimated frequency passes through a smoothing filter. Finally, heart rate is determined after converting the time scale from seconds to minutes. In running case of subjects, by using frequency analysis heart rate frequency can be detected and the artifact of shaking arms can also be rejected. for warming up case the reliability of heart rate estimation defined by the acceleration. Finally this results are validated with ECG data . | In test results , where running came closer to ECG in accuary of BPM (r=0.98, SD = 8.7)
Hernandez, Javier and McDuff, Daniel and Picard, Rosalind W, Media Lab, Massachusetts Institute of Technology, Cambridge, USA. & 2015 | 9th International Conference on Pervasive Computing Technologies for Healthcare (PervasiveHealth) | Biowatch: Estimation of heart and breathing rates from wrist motions | In this work , the heart rate and breathing rate is recoverd by using Accelerometer and gyroscope , where data is collected from laboratory in three different postions : standing up, sitting down , lying down. Further, comparable performance with a state-of-the-art wrist-worn heart rate monitor, and when monitoring heart rate of three individuals during two consecutive nights of in-situ sleep measurements. | photoplethysmograph(PPG) , electrocardiography(ECG) ,wrist mounted smart watch, Galaxy Gear (by Samsung, Inc :3D accelerometer, 3D gyroscope ). | 12 participants of both genders (6 females) and different ages (22–34) in laboratory test. Three participants (ages 27, 28 and 30) wearing sensors during real nights of sleep | The pluse wave and respiratory wave is recovered from raw accelerometer and gyroscope data ,for pluse wave detection averaging filter is applied and subtracted from each component, filter index is 1/7th second , further Butter worth filter is applied with cut off frequency 4 to 11 HZ. In case of respiratory wave the averaging filter is applied for each of the window component independently, which enables removal of higher cardiac motions , where range of frequency domain is [0.13-0.66 HZ]. | Window size : 20 seconds, 50% over lap for accleromter and gyroscope data and 75% overlap for PPG and ECG sensor data. | Heart Rate (HR), Breathing Rate(BR) |  | (ME)mean absolute error(beats/breaths per minute), standard deviation of abolute error, mean squared error and correlations coefficient (p<0.001) are used to estimate Heart Rate (HR) and breathing rate parameters, the above mentioned values are estimated by combining each sensor type values . How ever, laboratory wrist- worn sensor is validated with start of the arts ppg sensor data and along with In-Situ Sleep Measurement. | By comparing all sets of results , the Accelerometer perform better in HRV and gyroscope performs better in Breathing rate
Wu, Guannan and Wang, Jian and Zhang, Yongrong and Jiang, Shuai, year 2018. | Article | A Continuous Identity Authentication Scheme Based on Physiological and Behavioral Characteristics | Most of the authentication methods adopt a one-time authentication manner which cannot provide continuous certification. To address this issue, In this paper a two-step authentication method based on an own-built fingertip sensor device which can capture motion data (e.g., acceleration and angular velocity) and physiological data (e.g., a photoplethysmography (PPG) signal) | 3-D Acclerometers and 3-D gyroscopes and photoplethysmography (PPG) sensor | The 40 people(30 males and 10 females) were partcipated in the experiment |  | In our work, window sizes ranging from 2 s to 12 s with the degree of overlapping set as 20%. Sampling rate is 50HZ. | After segmentation the Time-frequency- Wavelet domain freatures are extracted .Total 78 features are extracted from the data. |  | K-NN, Decision Tree, Linear SVM algorthims are applied to calculate accuracy and F1 scores. | (Acurracy---98.5%, F1 score---81.67%)
Wei-Jheng Lin ; Hsi-Pin Ma, year 2016 | Communications (ICC), IEEE International Conference | A physiological information extraction method based on wearable PPG sensors with motion artifact removal | In this paper, a method to extract physiological information from Photoplethysmography (PPG) signal with motion artifact detection and removal is proposed | photoplethysmography (PPG) sensor | Eleven healthy subjects were participated in the experiment | To preprocess the data Discrete Wave Transformation (DTW) algorthims is used , further to motion articat in PPG sensor Kalman filters was introduced. | The window size is varied from 2sec to 9 sec and best is 7 sec. and sampling rate is 200 HZ. | peak-to-peak amplitudes, mean absolute deviation of peak-to-peak amplitudes, standard deviation of peak-to-peak intervals, and the kurtosis. Features are extracated. |  | The Support vectors Machines algorthim are optimized by using 10-fold cross-validation | (SVM_Accuracy---94.4%) (SVM_Sensitivity---90.35%) (SVM_Specificity_99.36%25)
Derungs, Adrian and Soller, Sebastian and Weish upl, Andreas and Bleuel, Judith and Berschin, Gereon and Amft, Oliver. & year 2018 | IEEE International Conference on Pervasive Computing and Communications | Regression-based, mistake-driven movement skill estimation in Nordic Walking using wearable inertial sensors | This paper propose a mistake-driven skill estimation approach for movement analysis in sports using wearable inertial measurement units (IMUs), an approach to assess three mistakes related to health risk which are typical in beginners. Based on a stride segmentation, features relevant to the mistakes were extracted and selected in a dedicated feature selection step. Subsequently, Bayesian Ridge Regression (BRR) and alternative regression models were trained for each mistake type | 3-axis Accelerometer, 3-axis gyroscope, 3-axis magnetometer. | 10 Nordic Walking beginners with no Nordic Walking experience (9 males, average 26.4 years, ranging from 18 to 34 years) | Participants were asked to walk 15 min per session, with a break for sensor checks after 7 min, resulting in 75 min of movement data per Nordic Walking beginner , The inertial sensors were symmetrically attached to a training suit using Velcro straps: wrists (RLA, LLA), upper arms (RUA, LUA), bridge of feet (RUF, LUF), shins (RLL, LLL), thighs (RUL, LUL), below Nordic Walking pole handles (RNP, LNP), as well as one sensor at the upper back (STE), and one at the lower backs’ centre of mass (CEN). | The striders are used to segment the data by implementing hill climb algorithm and nordic walking expert provide a skill grade for each stride. | Extracted features included: min, max, mean, standard deviation, energy, percentiles, skew, min-, maxposition of peak, and zero-crossing, total 351 features are extracted. | two feature selection strategies; Principal Component Analysis (PCA) and Gradient Descent Boosting (GDB). In addition ,Ordinary Least Square (OLS-linear regression), Support Vector Regression (SVR) and AdaBoostR (Ad-aBoost.R2 algorithms are included in feature selection. | Mistakes were estimated on each individual stride using regression algorithm : Bayesian Ridge Regression (BRR),evaluation methodology included a leave-one-participant-out (LOPO) cross-validation (CV) to investigate generalisation of the proposed mistake-driven movement skills estimation approach. Evaluation metrics including the root-mean-square-error (RMSE), normalised RMSE (nRMSE), and the mean-absolute-error (MAE) | (Total_11247 strides_ms1_grades ---10674 (94.9 %) were correct matching gear strides , 573 (5.1 %) were incorrect non-matching gear strides ) (ms2_3364 (31.5 %), 5543 (51.9 %) and 1767 (16.6 %)) ( MS3_ 1790 (16.8 %), 5008 (46.9 %) and 3876 (36.6 %) ) where stride grades are 1,2,3.
Vertens, Johan and Fischer, Fabian and Heyde, Christian and Hoeflinger, Fabian and Zhang, Rui and Reindl, Leonhard M and Gollhofer, Albert. & 2015. | Institut fuer Sport und Sportwissenschaft, Albert-Ludwigs-University, Schwarzwaldstraße 175, 79117 Freiburg, Germany | Measuring Respiration and Heart Rate using Two Acceleration Sensors on a Fully Embedded Platform | In this paper, a method to measure respiration and heart rate with acceleration sensors | 3-axis Accelerometer, Heart rate sensor, to verify system accuracy reference respiration rate and heart rate is obtained from CPX system (Oxycon Pro Care Fusion, San Diego CA, USA) and a Polar H7 heart rate belt strapped to the chest | Two people were involved in experiment | By using the differential measurement with two sensors, advanced calibration, optimization methods,and an adaptive, rather small bandpass, we are able to reduce the noise drastically in data preprocessing | window size is 8 secs, sampling rate for accelerometer is 100 HZ, for Heart rate sensor 400HZ | Respiration Rate and Heart Rate . |  | To quantify the performance of the system idistinct use cases were reconstructed in three different situations for Respiration Rate such as Situation One (S1): Office work, Situation Two (S2) : Walking and jogging, Situation Three (S3): Running and stopping in treadmill. The Heart rate has Situation: Slight movement. | (Respiration_rate_s1_NRMSE & MPE---1.42% ,4.40% error. Respiration_rate_s2_NRMSE& MPE----5.46%, 8.59%. (Respiration_rate_s3_NRMSE& MPE---- 3.95%, 4.13%) (Heart_rate_s1_NRMSE & MPE---1.74%,2.65%).
Dong-Wei Chen,1 Rui Miao,2 Wei-Qi Yang,1 Yong Liang,2 Hao-Heng Chen,2 Lan Huang,1 Chun-Jian Deng,1 and Na Han3. & year 2019 April 5 | Article | A Feature Extraction Method Based on Differential Entropy and Linear Discriminant Analysis for Emotion Recognition | The main purpose of this paper is to introduce an innovative method for obtaining reliable distinguishing features from EEG signals. This feature extraction method combines differential entropy with Linear Discriminant Analysis (LDA) that can be applied in feature extraction of emotional EEG signals | electroencephalography (EEG) sensor. | A total of 15 subjects participated in the experiment (seven males, eight females, mean age 23.27 years old with a standard deviation of 2.37) | The Differential entropy algorthim is used for features extraction | sampling rate 100 HZ | This paper proposes a feature extraction method based on the fusion of differential entropy and LDA . (The method was tested on a three-category : postive , negative & neutral) emotion EEG dataset. We performed experiments on the original dataset using differential entropy alone , LDA alone , and the fusion of differential entropy and LDA. here used five classic methods for classification: logistic regression (LR), support vector machine (SVM), k-nearest neighbor (k-NN), random forests (RF), and multilayer perceptron (MLP). |  | A band filter to divide the EEG signals into five bands, including Delta (1–3 Hz), Theta (4–7 Hz), Alpha (8–13 Hz), Beta (14–30 Hz), and Gamma (31–50 Hz). Therefore, five datasets representing the corresponding band. Then, combine the five-band data in order to inform the combined band data. After that, apply differential entropy (DE), LDA, and the DE and LDA method proposed in this paper to extract features respectively. Finally, adopt five classification methods, that is, k-NN, LR, MLP, RF, and SVM to find Precision, Accuracy, Recall, F1 score, Kappa. | (Accuracy _differential entropy combined with LDA method---82.5%, Which is 7.1% higher than that of the differential entropy method alone and LDA alone) (Precision_differential entropy combined with LDA method-improved by 4.3% &56.4%, respectively, compared to differential entropy method alone and LDA alone) (F1 score_increased by 4.2%) (Kappa coefficient increased by 4.6% and 56.4%, respectively, compared to the differential entropy method alone and the LDA method alone)